## DATA
Whs | Location | Loc Type | Symbol Number | Desc1 | Desc2 | Long Text Desc | UOM | BOH | Min | Max | Item Pool | Unit Cost ($) | Unit Cost(N) | Mfg Name | Part No | JDE long Text | DATA_FLAG
29200000TL | GTA001001 | S | 58021009 | VALVE: GATE 16 IN | 150 LB, RF FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 5 TRIM, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, BB,OS&Y, API-600/ASME B16.10, GAADAB | EA | 1 | 0 | 0 | NO | 4489.9968 | 697005.3 | TY | 151-RF-WCB-5-BG | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 5 trim, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, BB, OS&Y, API-600/ASME B16.10, 16 in, 150 LB, RF FLG, CS | CLEAN
29200000TL | GTA001002 | S | 58021012 | VALVE: GATE 16 IN | 600 LB, RF FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 8 TRIM, RENEWABLE SEAT, FLEXIBLE WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING, BB, OS&Y, API-600/ASME B16.10, GDAAAB | EA | 1 | 0 | 0 | NO | 9946.9816 | 1544172.28 | TY | 351-RF-WCB-8-BG | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 8 trim, renewable seat, flexible wedge, bevel gear with handwheel operated, flexible graphite packing, BB, OS&Y, API-600/ASME B16.10, 16 in, 600 LB, RF FLG, CS | CLEAN
29200000TL | GTA001003 | S | 58021075 | VALVE: GATE 14 IN | 150 LB, RF FLG, 304 SS | Valve - Gate : ASTM A351 GR CF8 (UNS J92600) BODY, COMBINATION NO 12 TRIM, FLEXIBLE WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, OS&Y | EA | 1 | 0 | 0 | NO | 9884.9745 | 1534586.46 | TY |  | Valve, gate, ASTM A351 GR CF8 (UNS J92600) body, combination no 12 trim, flexible wedge, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, OS&Y, 14 in, 150 LB, RF FLG, 304 SS | CLEAN
29200000TL | GTA001003 | S | 58021098 | VALVE: GATE 12 IN | 300 LB, RF FLG, 316 SS | Valve - Gate : ASTM A351 GR CF8M (UNS J92900) BODY, COMBINATION NO 12 TRIM, FLEXIBLE WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, OS&Y | EA | 1 | 0 | 0 | NO | 8836.9837 | 1371855.88 | TY |  | Valve, gate, ASTM A351 GR CF8M (UNS J92900) body, combination no 12 trim, flexible wedge, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, OS&Y, 12 in, 300 LB, RF FLG, 316 SS | CLEAN
29200000TL | GTA001004 | P | 58021016 | VALVE: GATE 18 IN | 300 LB, RF FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 8 TRIM, RENEWABLE SEAT, FLEXIBLE WEDGE,BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING, BB, OS&Y, API-600/ASME B16.10, GBAAAB | EA | 1 | 0 | 0 | NO | 7501.9861 | 1164610.48 | TY | 251-RF-WCB-8-BG | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 8 trim, renewable seat, flexible wedge, bevel gear with handwheel operated, flexible graphite packing, BB, OS&Y, API-600/ASME B16.10, 18 in, 300 LB, RF FLG, CS | CLEAN
29200000TL | GTA001005 | P | 58021257 | VALVE: CHECK 8 IN | 150 LB, RF FLG, CS | VALVE, CHECK;NPS 8; FLANGED, RAISED FACE; API-600/ASME B16.10; ASME CLASS 150; CARBON STEEL; TRIM COMBINATION NUMBER 5, SWING TYPE; BOLTED BONNET; CARBON STEEL, BODY, ASTM A216 GRADE WCB (UNS J03002); TYPE 316, STAINLESS STEEL HINGE PIN, CAADAA (A.S-CN153 | EA | 1 | 1 | 2 | NO | 3598.1375 | 1087226.1301 | GLOBAL VALVE & CONTROLS | A.S-CN153-RF-WCB-5 | Valve, check, NPS 8, flanged, raised face, API-600/ASME B16.10, ASME class 150, carbon steel, trim combination number 5, swing type, bolted bonnet, carbon steel body, ASTM A216 grade WCB (UNS J03002), type 316, stainless steel hinge pin, 8 in, 150 LB, RF FLG, CS | CLEAN
29200000TL | GTA001005 | S | 58021070 | VALVE: GATE 8 IN | 150 LB, RF FLG, 304 SS | Valve - Gate : ASTM A351 GR CF8 (UNS J92600) BODY, COMBINATION NO 12 TRIM, FLEXIBLE WEDGE, HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, OS&Y, ASME B16.34/ASME | EA | 1 | 0 | 0 | NO | 1927.9965 | 299302.72 | TY |  | Valve, gate, ASTM A351 GR CF8 (UNS J92600) body, combination no 12 trim, flexible wedge, handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, OS&Y, 8 in, 150 LB, RF FLG, 304 SS | CLEAN
29200000TL | GTA002CON | P | 58020987 | VALVE: GATE 6 IN | 900 LB, RTJ FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 8 TRIM, FLEX WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, PRESSURE SEAL BONNET, OS&Y | EA | 1 | 0 | 0 | NO | 3930.8267 | 621891.4267 | TY | 451/PS-RTJ-WCB-5-BG | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 8 trim, flex wedge, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, pressure seal bonnet, OS&Y, 6 in, 900 LB, RTJ FLG, CS | CLEAN
29200000TL | GTA002CON | P | 58060893 | FLANGE | WELDNECK 10 IN | CL 300; SCH 30; CARBON STEEL | EA | 1 | 0 | 1 | NO | 63.6333 | 19420.87 |  |  | Flange, CL 300, SCH 30, carbon steel, weldneck, 10 in | CLEAN
29200000TL | GTA002CON | S | 58020985 | VALVE: GATE 6 IN | 600 LB, RF FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 5 TRIM, HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, BB, OS&Y, API-600/ASME B16.10, GDADAA | EA | 1 | 0 | 0 | NO | 1724.8329 | 267754.44 | TY | 351-RF-WCB-5 | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 5 trim, handwheel operated, flexible graphite packing with corrosion inhibitor, BB, OS&Y, API-600/ASME B16.10, 6 in, 600 LB, RF FLG, CS | CLEAN
29200000TL | GTA003CON | S | 58801340 | BURNER: COMPLETE | 20PLT BURNER PSFR 10 RM, PMB0 | Valve-Other : COMPLETE ZZ-MB001-SL-003 | EA | 22 | 4 | 10 | NO | 5933.1464 | 921002.32 | BOUSTEAD INTERNATIONAL HE | 1320 | Valve, other, complete ZZ-MB001-SL-003, burner, complete, 20PLT burner PSFR 10 RM, PMB0 | CLEAN
29200000TL | GTA006CON | P | 58061026 | ELBOW | 90-DEGREE,10 IN | BEVELED END; SCHEDULE 20; CARBON STEEL | EA | 10 | 5 | 10 | NO | 48.149 | 14754.78 |  |  | Fittings, pipe, carbon steel, beveled end, schedule 20, 90-degree, 10 in | CLEAN
29200000TL | GTA007CON | P | 58060873 | FLANGE: WELDNECK 12 IN | RAISED FACE; CLASS 150 | SCHEDULE 20 BORE; CARBON STEEL ; | EA | 10 | 6 | 10 | YES | 77.587 | 23679.5527 | MASSFLANGE USA |  | Fittings, pipe, carbon steel, schedule 20 bore, flange, weldneck, 12 in, raised face, class 150 | CLEAN
29200000TL | GTA009CON | P | 58004460 | FLANGE: PIPE | 18 IN,150 LB | Fittings - Pipe - Carbon Steel :SCH 20,RF,CS,WN,ASTM A105,UNS K03504,ASME B16.5 | EA | 1 | 0 | 0 | NO | 158.7381 | 24656.81 |  |  | Fittings, pipe, carbon steel, SCH 20, RF, CS, WN, ASTM A105, UNS K03504, ASME B16.5, 18 in, 150 LB | CLEAN
29200000TL | GTA009CON | P | 58005549 | ELBOW: PIPE 10 IN | BEVELED END | Fittings - Pipe - Carbon Steel :90 DEG, LONG RADIUS, SCH 80, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 284 | EA | 2 | 0 | 0 | NO | 172.7108 | 26827.2 | WILSON SUPPLY | SEE DESCRIPTION | Fittings, pipe, carbon steel, 90 DEG, long radius, SCH 80, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 10 in, beveled end | CLEAN
29200000TL | GTA009CON | P | 58005550 | ELBOW: PIPE 10 IN | BEVELED END | Fittings - Pipe - Carbon Steel :90 DEG, LONG RADIUS, SCH 100, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 285 | EA | 2 | 0 | 0 | NO | 259.0762 | 40242.35 | WILSON SUPPLY | SEE DESCRIPTION | Fittings, pipe, carbon steel, 90 DEG, long radius, SCH 100, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 10 in, beveled end | CLEAN
29200000TL | GTA009CON | P | 58021281 | VALVE:CHECK,30IN CBAAAF,300 LB | RF FLG,CS ASTM A216 GR WCB | Valve - Gate : (UNS J03002) BODY,COMBINATION NO 8 TRIM,SWING,BB,B16.47 SERIES B, API-600/ASME B16.10, CBAAAF | EA | 1 | 0 | 0 | NO | 20189.9253 | 3134497.5 | PAN KOREA | 302RF8-WCB-8-SERIES B | Valve, gate, (UNS J03002) body, combination no 8 trim, swing, BB, B16.47 series B, API-600/ASME B16.10, valve, check, 30 in, CBAAAF, 300 LB, RF FLG, CS, ASTM A216 GR WCB | CLEAN
29200000TL | GTA009CON | S | 58005556 | ELBOW: PIPE 12 IN | BEVELED END | Fittings - Pipe - Carbon Steel :90 DEG, LONG RADIUS, XS, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 291 | EA | 9 | 2 | 5 | NO | 177.9481 | 27640.71 | WILSON SUPPLY | SEE DESCRIPTION | Fittings, pipe, carbon steel, 90 DEG, long radius, XS, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 12 in, beveled end | CLEAN
29200000TL | GTA012CON | P | 58020994 | VALVE: GATE 10 IN | 150 LB, RF FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 5 TRIM, HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, BB, OS&Y, API-600/ASME B16.10, GAADAA | EA | 1 | 0 | 0 | NO | 1046.6634 | 169370 | TY | 151-RF-WCB-5 | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 5 trim, handwheel operated, flexible graphite packing with corrosion inhibitor, BB, OS&Y, API-600/ASME B16.10, 10 in, 150 LB, RF FLG, CS | CLEAN
29200000TL | GTA012CON | P | 58021002 | VALVE: GATE 12 IN | 600 LB, BW, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 5 TRIM,FLEXIBLE WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, BB,OS&Y, API-600/ASME B16.10, SCH 100 | EA | 3 | 0 | 0 | NO | 7805.3578 | 1384740.1667 | TY | 351-BW-WCB-5-S/100-BG | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 5 trim, flexible wedge, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, BB, OS&Y, API-600/ASME B16.10, 12 in, 600 LB, BW, CS | CLEAN
29200000TL | GTA012CON | P | 58021035 | VALVE: GATE 3 IN | 300 LB, BW, CR-MO | Valve - Gate : ASTM A217 GR WC6 BODY,COMBINATION NO 8 TRIM, FLEXIBLE WEDGE, HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, BB, OS&Y, API-600/ASME B16.10, STD WEIGHT BORE, IMPACT TESTED > 1 | EA | 1 | 0 | 0 | NO | 1032.4444 | 165421.4833 | TY | 251-BW-WC6-8-S/STD | Valve, gate, ASTM A217 GR WC6 body, combination no 8 trim, flexible wedge, handwheel operated, flexible graphite packing with corrosion inhibitor, BB, OS&Y, API-600/ASME B16.10, STD weight bore, impact tested > 1, 3 in, 300 LB, BW, CR-MO | CLEAN
29200000TL | GTA012CON | P | 58021036 | VALVE: GATE 3 IN | 600 LB, BW, CR-MO | Valve - Gate : ASTM A217 GR WC6 BODY,COMBINATION NO 12 TRIM, FLEXIBLE WEDGE, HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, OS&Y, API-600/ASME B16.10, NACE STD | EA | 1 | 1 | 2 | NO | 1701.0335 | 274323.3083 | TY |  | Valve, gate, ASTM A217 GR WC6 body, combination no 12 trim, flexible wedge, handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, OS&Y, API-600/ASME B16.10, NACE STD, 3 in, 600 LB, BW, CR-MO | CLEAN
29200000TL | GTA012CON | P | 58021306 | VALVE:CHECK,6 IN CAGCAF,150 LB | RF FLG,316SS ASTM A351 GR CF8M | Valve - Gate : (UNS J92900) BODY,COMBINATION NO 12 TRIM,SWING,BB, ASME B16.34/ASME B16.10, CAGCAF | EA | 1 | 0 | 0 | NO | 1334.9984 | 207240.95 | PK | 103-RF-CF8M-12 | Valve, gate, (UNS J92900) body, combination no 12 trim, swing, BB, ASME B16.34/ASME B16.10, valve, check, 6 in, CAGCAF, 150 LB, RF FLG, 316 SS, ASTM A351 GR CF8M | CLEAN
29200000TL | GTA012CON | P | 58021310 | VALVE:CHECK,8 IN CAGCAF,150 LB | RF FLG,316SS ASTM A351 GR CF8M | Valve - Check : (UNS J92900) BODY,COMBINATION NO 12 TRIM,SWING,BB, ASME B16.34/ASME B16.10, CAGCAF | EA | 1 | 0 | 0 | NO | 4295.2 | 666759.276 | FBV VALVE USA | CAGAF-8-103-RF-CF8M-12 | Valve, check, (UNS J92900) body, combination no 12 trim, swing, BB, ASME B16.34/ASME B16.10, valve, check, 8 in, CAGCAF, 150 LB, RF FLG, 316 SS, ASTM A351 GR CF8M | CLEAN
29200000TL | GTA012CON | S | 58020987 | VALVE: GATE 6 IN | 900 LB, RTJ FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 8 TRIM, FLEX WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, PRESSURE SEAL BONNET, OS&Y | EA | 1 | 0 | 0 | NO | 3930.8267 | 621891.4267 | TY | 451/PS-RTJ-WCB-5-BG | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 8 trim, flexible wedge, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, pressure seal bonnet, OS&Y, 6 in, 900 LB, RTJ FLG, CS | CLEAN
29200000TL | GTA012CON | S | 58020989 | VALVE: GATE 8 IN | 300 LB, RF FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 12 TRIM, FLEX WEDGE, HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, OS&Y, API-600/ASME B16.10 | EA | 1 | 2 | 4 | NO | 2594.5432 | 412845.0683 | TY |  | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 12 trim, flexible wedge, handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, OS&Y, 8 in, 300 LB, RF FLG, CS | CLEAN
29200000TL | GTA012CON | S | 58020998 | VALVE: GATE 10 IN | 600 LB, RF FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 5 TRIM, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, BOLTED BONNET, OS&Y, API-600/ASME B16.10, GDADAB | EA | 1 | 0 | 0 | NO | 5115.9891 | 883634 | TY | 351-RF-WCB-5-BG | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 5 trim, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, bolted bonnet, OS&Y, API-600/ASME B16.10, 10 in, 600 LB, RF FLG, CS | CLEAN
29200000TL | GTA012CON | S | 58021066 | VALVE: GATE 4 IN | 600 LB, RF FLG, 304 SS | Valve - Gate : ASTM A351 GR CF8 (UNS J92600) BODY, COMBINATION NO 12 TRIM, FLEXIBLE WEDGE, HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, OS&Y, ASME B16.34/ASME B16.10, | EA | 5 | 0 | 0 | NO | 3822.9945 | 615188.875 | TY |  | Valve, gate, ASTM A351 GR CF8 (UNS J92600) body, combination no 12 trim, flexible wedge, handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, OS&Y, 4 in, 600 LB, RF FLG, 304 SS | CLEAN
29200000TL | GTA012CON | S | 58021073 | VALVE: GATE 8 IN | 600 LB, RF FLG, 304 SS | Valve - Gate : ASTM A351 GR CF8 (UNS J92600) BODY, COMBINATION NO 12 TRIM, FLEXIBLE WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, OS&Y | EA | 1 | 0 | 0 | NO | 15363.9727 | 2482427.195 | TY |  | Valve, gate, ASTM A351 GR CF8 (UNS J92600) body, combination no 12 trim, flexible wedge, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, OS&Y, 8 in, 600 LB, RF FLG, 304 SS | CLEAN
29200000TL | GTA012CON | S | 58021094 | VALVE: GATE 8 IN | 300 LB, RF FLG, 316 SS | Valve - Gate : ASTM A351 GR CF8M (UNS J92900) BODY, COMBINATION NO 12 TRIM, FLEXIBLE WEDGE, HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, OS&Y, ASME B16.34/ASME | EA | 2 | 0 | 0 | NO | 4558.9831 | 707784.75 | TY |  | Valve, gate, ASTM A351 GR CF8M (UNS J92900) body, combination no 12 trim, flexible wedge, handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, OS&Y, 8 in, 300 LB, RF FLG, 316 SS | CLEAN
29200000TL | GTA014CON | P | 58021046 | VALVE: GATE 14 IN | 600 LB, BW, CR-MO | Valve - Gate : ASTM A217 GR WC6 BODY, COMBINATION NO 12 TRIM, FLEXIBLE WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, OS&Y, AAPI-600/ASME B16.10 | EA | 1 | 0 | 0 | NO | 18570.7895 | 2992443.875 | TY |  | Valve, gate, ASTM A217 GR WC6 body, combination no 12 trim, flexible wedge, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, OS&Y, API-600/ASME B16.10, 14 in, 600 LB, BW, CR-MO | CLEAN
29200000TL | GTA014CON | S | 58021002 | VALVE: GATE 12 IN | 600 LB, BW, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 5 TRIM,FLEXIBLE WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, BB,OS&Y, API-600/ASME B16.10, SCH 100 | EA | 3 | 0 | 0 | NO | 7805.3578 | 1384740.1667 | TY | 351-BW-WCB-5-S/100-BG | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 5 trim, flexible wedge, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, BB, OS&Y, API-600/ASME B16.10, 12 in, 600 LB, BW, CS | CLEAN
29200000TL | GTA014CON | S | 58021014 | VALVE: GATE 18 IN | 150 LB, RF FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 5 TRIM, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, BB, OS&Y, API-600/ASME B16.10, GAADAB | EA | 1 | 0 | 0 | NO | 5434.6589 | 975830.8863 | TY | 151-RF-WCB-5-BG | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 5 trim, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, BB, OS&Y, API-600/ASME B16.10, 18 in, 150 LB, RF FLG, CS | CLEAN
29200000TL | GTA014CON | S | 58021016 | VALVE: GATE 18 IN | 300 LB, RF FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 8 TRIM, RENEWABLE SEAT, FLEXIBLE WEDGE,BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING, BB, OS&Y, API-600/ASME B16.10, GBAAAB | EA | 2 | 0 | 0 | NO | 7501.9861 | 1164610.48 | TY | 251-RF-WCB-8-BG | Valve, gate, ASTM A216 GR WCB (UNS J03002) body, combination no 8 trim, renewable seat, flexible wedge, bevel gear with handwheel operated, flexible graphite packing, BB, OS&Y, API-600/ASME B16.10, 18 in, 300 LB, RF FLG, CS | CLEAN
29200000TL | GTA024CON | P | 58005565 | ELBOW: PIPE 48 IN | BEVELED END | Fittings - Pipe - Carbon Steel :90 DEG, LONG RADIUS, 14.28MM WALL THK, CS,ASTM A234, UNS K03006, GR WPB, ASME B16.9, 300 | EA | 2 | 1 | 2 | NO | 4112.9049 | 638487.36 | WILSON SUPPLY | SEE DESCRIPTION | Fittings, pipe, carbon steel, 90 DEG, long radius, 14.28 mm wall thickness, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 48 in, beveled end | CLEAN
29200000TL | GTA031CON | P | 58006256 | SET:FILTER LEAVES,1498 MM | FOR WAX FILTRATION PACKAGE U30 | Water Treatment Equipment :EXCL O-RINGS, SS, PZ80, 130-XX-040A, 130-XX-040B, 130-XX-040C, 130-XX-040DLEAF NO. # OF LEAFS WIDTH88-1 3 940 MM88-2 2"1 SET CONTAINS 38 LEAFS(Note: The PLF on order should be handled with care during transit, customs clearance | ST | 3 | 0 | 0 | NO | 81047.9967 | 15535311.64 | SLFC, SOUTH AFRICA | SLFC-EGTL-U30-L | Water treatment equipment, excluding O-rings, SS, PZ80, 130-XX-040A, 130-XX-040B, 130-XX-040C, 130-XX-040D, leaf no, # of leafs width 88-1 3 940 mm, 88-2 2, 1 set contains 38 leafs, for wax filtration package U30 | CLEAN
29200000TL | GTA051CON | S | 26024306 | CABLE:COPPER CORRUGATED 20 PR | ARMOR FLAME RETARDANT BLACK PV | 300V CABLE ITC/PLTC 20 PR #16 INDIVIDUAL AND OVERALL SHIELD COPPER CORRUGATED ALUMINUM ARMOR FLAME RETARDANT BLACK PVC OUTER JACKET | RE | 3 | 0 | 0 | NO | 0 | 0 |  |  | 300V cable, ITC/PLTC, 20 PR #16, individual and overall shield, copper corrugated aluminum armor, flame retardant black PVC outer jacket, cable, copper corrugated, 20 PR | CLEAN
29200000TL | GTA052CON | S | 26024306 | CABLE:COPPER CORRUGATED 20 PR | ARMOR FLAME RETARDANT BLACK PV | 300V CABLE ITC/PLTC 20 PR #16 INDIVIDUAL AND OVERALL SHIELD COPPER CORRUGATED ALUMINUM ARMOR FLAME RETARDANT BLACK PVC OUTER JACKET | RE | 4 | 0 | 0 | NO | 0 | 0 |  |  | 300V cable, ITC/PLTC, 20 PR #16, individual and overall shield, copper corrugated aluminum armor, flame retardant black PVC outer jacket, cable, copper corrugated, 20 PR | CLEAN
29200000TL | GTA059CON | P | 26024306 | CABLE:COPPER CORRUGATED 20 PR | ARMOR FLAME RETARDANT BLACK PV | 300V CABLE ITC/PLTC 20 PR #16 INDIVIDUAL AND OVERALL SHIELD COPPER CORRUGATED ALUMINUM ARMOR FLAME RETARDANT BLACK PVC OUTER JACKET | RE | 2 | 0 | 0 | NO | 0 | 0 |  |  | Cable, 300V, 20 pair #16, individual and overall shield, copper corrugated aluminum armor, flame retardant black PVC outer jacket | CLEAN
29200000TL | GTA110CON | S | 26024306 | CABLE:COPPER CORRUGATED 20 PR | ARMOR FLAME RETARDANT BLACK PV | 300V CABLE ITC/PLTC 20 PR #16 INDIVIDUAL AND OVERALL SHIELD COPPER CORRUGATED ALUMINUM ARMOR FLAME RETARDANT BLACK PVC OUTER JACKET | RE | 3 | 0 | 0 | NO | 0 | 0 |  |  | Cable, 300V, 20 pair #16, individual and overall shield, copper corrugated aluminum armor, flame retardant black PVC outer jacket | CLEAN
29200000TL | GTA117CON | S | 26024306 | CABLE:COPPER CORRUGATED 20 PR | ARMOR FLAME RETARDANT BLACK PV | 300V CABLE ITC/PLTC 20 PR #16 INDIVIDUAL AND OVERALL SHIELD COPPER CORRUGATED ALUMINUM ARMOR FLAME RETARDANT BLACK PVC OUTER JACKET | RE | 1 | 0 | 0 | NO | 0 | 0 |  |  | Cable, 300V, 20 pair #16, individual and overall shield, copper corrugated aluminum armor, flame retardant black PVC outer jacket | CLEAN
29200000TL | GTA121CON | S | 26024319 | CABLE: 600V POWER TYPE MC-HL | STRANDED COPPER BLACK INSULATI | 600V POWER CABLE TYPE MC-HL 3/C #12 AWG W/3#16 AWG GROUND CONDUCTORS 90 DEG C STRANDED COPPER BLACK INSULATION WITH BLACK PVC OUTER JACKET FOR CABLE TRAY USE-SUNLIGHT RESISTANT FOR DIRECT BURIAL.CABLE TO BE APPROVED FOR CL 1 2 & 3 DIV 1 AND 2 / CLASS 1 | RE | 8 | 0 | 0 | NO | 0 | 0 |  |  | Power cable, 600V, type MC-HL, 3/C #12 AWG with 3 #16 AWG ground conductors, 90°C, stranded copper, black insulation with black PVC outer jacket, for cable tray use, sunlight resistant for direct burial, approved for CL 1, 2 & 3 DIV 1 and 2 / CLASS 1 | CLEAN
29200000TL | GTA126CON | P | 26024319 | CABLE: 600V POWER TYPE MC-HL | STRANDED COPPER BLACK INSULATI | 600V POWER CABLE TYPE MC-HL 3/C #12 AWG W/3#16 AWG GROUND CONDUCTORS 90 DEG C STRANDED COPPER BLACK INSULATION WITH BLACK PVC OUTER JACKET FOR CABLE TRAY USE-SUNLIGHT RESISTANT FOR DIRECT BURIAL.CABLE TO BE APPROVED FOR CL 1 2 & 3 DIV 1 AND 2 / CLASS 1 | RE | 2 | 0 | 0 | NO | 0 | 0 |  |  | Power cable, 600V, type MC-HL, 3/C #12 AWG with 3 #16 AWG ground conductors, 90°C, stranded copper, black insulation with black PVC outer jacket, for cable tray use, sunlight resistant for direct burial, approved for CL 1, 2 & 3 DIV 1 and 2 / CLASS 1 | CLEAN
29200000TL | GTA126CON | P | 58063138 | SHAFT | DRIVING | ITEM DESCRIPTION: DRIVING SHAFT TYPE & SIZE: LRH850.625SS DIM: DBSE 4000mm PHV501 MANUFACTURER: REXNORD EXT DESC: DRIVING SHAFT BETWEEN MOTOR AND GEARBOX FOR PROCESS COOLING TOWER. Power Transmission Equipment & Replacement Parts : MAT: FIBRE GLASS,CARBON | EA | 3 | 0 | 0 | NO | 3233.8829 | 988598 | SPIG S.P.A. |  | Driving shaft, type LRH850.625SS, dimension 4000mm, manufacturer Rexnord, driving shaft between motor and gearbox for process cooling tower, material fiberglass, carbon | CLEAN
29200000TL | GTA127CON | S | 58021004 | VALVE: GATE 12 IN | 900 LB, BW, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 5 TRIM, FLEXIBLE WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, PRESSURE SEAL BONNET, OS&Y. | EA | 1 | 0 | 1 | NO | 14315.1899 | 2477780.1096 | TY | 451/PS-BW-WCB-5-S/120-BG | Valve, gate, 12 in, ASTM A216 GR WCB (UNS J03002) body, combination no 5 trim, flexible wedge, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, pressure seal bonnet, OS&Y | CLEAN
29200000TL | GTA128CON | P | 58062381 | REFRACTORY | FIRELITE, 2300 | Buildngs - Fixed :120-HF-101A,Refer to Consolidated list | EA | 60 | 0 | 0 | NO | 94.4279 | 28885.5 | RHI |  | Refractory, fixed, 120-HF-101A, refer to consolidated list | NEEDS_REVIEW
29200000TL | GTA128CON | P | 58062382 | REFRACTORY | FIRELITE, 105 | Buildngs - Fixed :150-HF-001,Refer to Consolidated listNOTE: 1BAG = 25KG | EA | 60 | 0 | 0 | NO | 95.8875 | 11740.875 | RHI |  | Refractory, fixed, 150-HF-001, refer to consolidated list, note: 1 bag = 25kg | NEEDS_REVIEW
29200000TL | GTA128CON | P | 58062383 | REFRACTORY | FIRELITE, 124 | Refer to Consolidated list NOTE: 1BAG = 20KG | EA | 75 | 0 | 0 | NO | 74.636 | 9196.2 | RHI |  | Refractory, fixed, refer to consolidated list, note: 1 bag = 20kg | NEEDS_REVIEW
29200000TL | GTA129CON | P | 58005505 | ELBOW: PIPE 12 IN | BEVELED END | Fittings - Pipe - Carbon Steel :90 DEG, LONG RADIUS, SCH 40S, DUAL-STAMPED 316/316L SS, ASTM A403, GR WP, ASME B16.9, 240 | EA | 1 | 0 | 0 | NO | 1798.9912 | 279437.58 | WILSON SUPPLY | SEE DESCRIPTION | Fitting, pipe, carbon steel, 90 degree, long radius, schedule 40S, dual-stamped 316/316L SS, ASTM A403, GR WP, ASME B16.9, 240 | CLEAN
29200000TL | GTA129CON | S | 58010084 | BEARING: SLEEVE | FORCED DRAFT FAN,4 IN ID | Bearings & Accessories - All :CAST IRON W/ WHITE METAL LINED, RLWC, 172-CB-002A/B/C DRAWING NO. K49751 SET (2 NOS - 1 DE & 1 NDE) 4 INCH DIAMETER RLWC BEARING WITH PLUMMER BLOCK | ST | 1 | 0 | 0 | NO | 3448.5707 | 1056780 | ANDREW YULE | DD720112-6 | Bearing, sleeve, cast iron with white metal lined, RLWC, 172-CB-002A/B/C drawing no. K49751 set (2 nos - 1 DE & 1 NDE), 4 inch diameter RLWC bearing with plummer block | CLEAN
29200000TL | GTA131CON | P | 58064337 | PANEL: HY SECURITY | ZZ-CV501-SL-015 | HY SECURITY PANEL, MODEL # 222 SS ST, SLIDE DRIVER ESCV50101-01546 | EA | 1 | 0 | 1 | NO | 0 | 0 |  |  | Panel, HY security, model # 222 SS ST, slide driver ESCV50101-01546 | CLEAN
29200000TL | GTA132CON | P | 58064496 | CABLE TRAY: 12 IN (300MM) | FITTING, 24 IN RADIUS (600MM) | 90 DEGREE VERTICAL OUTSIDE ELBOW,ALUMINUM-6A-12-90V024 ZTA90ARP | EA | 17 | 0 | 0 | NO | 68.9411 | 21126.3 | WESCO |  | Cable tray, 12 in (300mm), 90 degree vertical outside elbow, aluminum-6A-12-90V024 ZTA90ARP | CLEAN
29200000TL | GTA133CON | P | 58065202 | PIPE: SEAMLESS; 3/4 IN | PPAACBAZCGIAGZ | PIPE; SEAMLESS;NPS 3/4; ASME B36.19M ; BEVELED END; SCHEDULE 80S; STAINLESS STEEL, ASTM A312 GRADE TP304H (UNS S30409);PPAACBAZCGIAGZ | MT | 10 | 0 | 0 | NO | 937.8797 | 286991.2 | WILSON SUPPLY |  | Pipe, seamless, NPS 3/4, ASME B36.19M, beveled end, schedule 80S, stainless steel, ASTM A312 grade TP304H (UNS S30409), PPAACBAZCGIAGZ | CLEAN
29200000TL | GTAAFRC009 | P | 58005463 | ELBOW: PIPE 14 IN | BEVELED END | Fittings - Pipe - Carbon Steel :45 DEG, LONG RADIUS, STD, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 198 | EA | 1 | 0 | 0 | NO | 121.9571 | 18943.61 | WILSON SUPPLY | SEE DESCRIPTION | Fitting, pipe, carbon steel, 45 degree, long radius, standard, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 198 | CLEAN
29200000TL | GTAAFRC009 | P | 58009768 | PIPE: BEND 90 DEG | NPS 6 | Line Pipe - Carbon Steel : SEAMLESS; ASME B36.10M ; BEVELED END; 5-DIAMETER RADIUS; STANDARD WEIGHT; CARBON STEEL, ASTM A106 GRADE B (UNS K03006), PPSACAAEABABBZ | EA | 2 | 1 | 2 | NO | 1385.0339 | 231993.18 | WILSON SUPPLY | PPSACAAEABABBZ | Line pipe, carbon steel, seamless, ASME B36.10M, beveled end, 5-diameter radius, standard weight, carbon steel, ASTM A106 grade B (UNS K03006), PPSACAAEABABBZ | CLEAN
29200000TL | GTAAFRC009 | P | 58021013 | VALVE: GATE 16 IN | 900 LB, BW, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 5 TRIM, FLEXIBLE WEDGE, BEVEL GEAR WITH HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, PRESSURE SEAL BONNET,OS&Y, ASME B16.3 | EA | 2 | 0 | 0 | NO | 24495.7811 | 4156103.4975 | TY | 451/PS-BW-WCB-5-S/120-BG | Valve, gate, 16 in, ASTM A216 GR WCB (UNS J03002) body, combination no 12 trim, flexible wedge, bevel gear with handwheel operated, flexible graphite packing with corrosion inhibitor, pressure seal bonnet, OS&Y, ASME B16.3 | CLEAN
29200000TL | GTAAFRC009 | P | 58021248 | VALVE: CHECK 6 IN | 300 LB, BW | Valve - Check : NORMALIZED & TEMPERED CS ASTM A216 GR WCB (UNS J03002) BODY, COMBINATION NO 12 TRIM, SWING, BB, API-600/ASME B16.10, STD WT BORE, HYDROGEN SERVICE CBACAD | EA | 2 | 0 | 0 | NO | 1161.9858 | 208709.0544 | TY | 253-BW-WCB-12-S/STD | Valve, check, 6 in, normalized & tempered CS ASTM A216 GR WCB (UNS J03002) body, combination no 12 trim, swing, BB, API-600/ASME B16.10, standard weight bore, hydrogen service CBACAD | CLEAN
29200000TL | GTAAFRC009 | S | 58021194 | VALVE: GLOBE 4 IN | 150 LB, RF FLG, 316 SS | Valve - Globe : ASTM A351 GR CF8M (UNS J92900) BODY, COMBINATION NO 12 TRIM, HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, T-BODY, OS&Y, ASME B16.34/ASME B16.10, | EA | 2 | 2 | 5 | NO | 1085.1173 | 168442.76 | TY |  | Valve, globe, 4 in, ASTM A351 GR CF8M (UNS J92900) body, combination no 12 trim, handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, T-body, OS&Y, ASME B16.34/ASME B16.10 | CLEAN
29200000TL | GTAAFRC010 | P | 58004446 | FLANGE: PIPE | 12 IN,300 LB STD, | Fittings - Pipe - Carbon Steel :RF,CS,WN,ASTM A105,UNS K03504, ASME B16.5 | EA | 1 | 0 | 0 | NO | 147.8244 | 23560.726 |  |  | Fitting, pipe, carbon steel, RF, CS, WN, ASTM A105, UNS K03504, ASME B16.5 | CLEAN
29200000TL | GTAAFRC010 | P | 58005464 | ELBOW: PIPE 14 IN | BEVELED END | Fittings - Pipe - Carbon Steel :45 DEG, LONG RADIUS, XS, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 199 | EA | 2 | 0 | 0 | NO | 165.9543 | 25777.71 | WILSON SUPPLY | SEE DESCRIPTION | Fitting, pipe, carbon steel, 45 degree, long radius, XS, CS, ASTM A234, UNS K03006, GR WPB, ASME B16.9, 199 | CLEAN
29200000TL | GTAAFRC010 | S | 58021003 | VALVE: GATE 12 IN | 600 LB, RF FLG, CS | Valve - Gate : ASTM A216 GR WCB (UNS J03002) BODY,COMBINATION NO 8 TRIM,RENEWABLE SEAT,FLEXIBLE WEDGE,BEVEL GEAR WITH HANDWHEEL OPERATED,FLEXIBLE GRAPHITE PACKING,BB,OS&Y,API-600/ASME B16.10, GDAAAB, API-6 | EA | 1 | 2 | 4 | NO | 7396.7792 | 1749601.6183 | PK VALVE | 351-RF-WCB-8-BG | Valve, gate, 12 in, ASTM A216 GR WCB (UNS J03002) body, combination no 8 trim, renewable seat, flexible wedge, bevel gear with handwheel operated, flexible graphite packing, BB, OS&Y, API-600/ASME B16.10, GDAAAB, API-6 | CLEAN
29200000TL | GTAAFRC010 | S | 58021039 | VALVE: GATE 6 IN | 600 LB, BW, CR-MO | Valve - Gate : ASTM A217 GR WC6 BODY, COMBINATION NO 12 TRIM, FLEXIBLE WEDGE, HANDWHEEL OPERATED, FLEXIBLE GRAPHITE PACKING WITH CORROSION INHIBITOR, ZINC FREE PACKING, BB, OS&Y, API-600/ASME B16.10, XSTRONG BORE | EA | 1 | 0 | 0 | NO | 4722.9942 | 733182.7767 | TY |  | Valve, gate, 6 in, ASTM A217 GR WC6 body, combination no 12 trim, flexible wedge, handwheel operated, flexible graphite packing with corrosion inhibitor, zinc free packing, BB, OS&Y, API-600/ASME B16.10, xstrong bore | CLEAN
29200000TL | GTAAFRC010 | S | 58021270 | VALVE:CHECK,12IN CDAAAH,600 LB | BW,CS ASTM A216 GR WCB | Valve - Gate : (UNS J03002) BODY,COMBINATION NO 8 TRIM,SWING,BB, API-600/ASME B16.10, SCH 80 BORE, CDAAAH | EA | 1 | 0 | 0 | NO | 5063.1615 | 785979.875 | TY | 353-BW-WCB-5-S/80 | Valve, check, 12 in, (UNS J03002) body, combination no 8 trim, swing, BB, API-600/ASME B16.10, schedule 80 bore, CDAAAH | CLEAN
29200000TL | GTAAFRC011 | P | 58801340 | BURNER: COMPLETE | 20PLT BURNER PSFR 10 RM, PMB0 | Valve-Other : COMPLETE ZZ-MB001-SL-003 | EA | 20 | 4 | 10 | NO | 5933.1464 | 921002.32 | BOUSTEAD INTERNATIONAL HE | 1320 | Burner, complete, ZZ-MB001-SL-003 | CLEAN
29200000TL | GTAARFC025 | P | 58062392 | REFRACTORY | PYROSET 26LI | 120-VR-105/205,Refer to Consolidated list NOTE: 1BAG = 30KG | EA | 773 | 0 | 0 | NO | 9.9266 | 1210.44 | RHI |  | Refractory, 120-VR-105/205, refer to consolidated list, note: 1 bag = 30kg | NEEDS_REVIEW
2920000TLB | GTA.129.CON | S | 58010084 | BEARING: SLEEVE | FORCED DRAFT FAN,4 IN ID | Bearings & Accessories - All :CAST IRON W/ WHITE METAL LINED, RLWC, 172-CB-002A/B/C DRAWING NO. K49751 SET (2 NOS - 1 DE & 1 NDE) 4 INCH DIAMETER RLWC BEARING WITH PLUMMER BLOCK | ST | 1 | 0 | 0 | ROR | 12051.8543 | 1871050.3875 | ANDREW YULE | DD720112-6 | Bearing, sleeve, cast iron with white metal lined, RLWC, 172-CB-002A/B/C drawing no. K49751 set (2 nos - 1 DE & 1 NDE), 4 inch diameter RLWC bearing with plummer block | CLEAN
29300000TL | GTAARFC021 | P | 58800990 | SPARCAST : 110C | PACKAGED IN 55 LB BAGS | Insulation & Accessories - All :HIGH STRENGTH, MEDIUM WEIGHT, ABRASION, RESISTANT CASTABLE, | EA | 100 | 0 | 0 | NO | 150.33 | 57050.235 | SPAR INC |  | Insulation & accessories, high strength, medium weight, abrasion resistant castable, Sparcast 110C, packaged in 55 lb bags | CLEAN